## AIC_WaterHeater_Texas_99-230
Column1 | _DistributedBy##OTHER## | _CurrentRevision##OTHER## | _CreatedBy##OTHER## | _BimSpecGuid##OTHER## | _BSBibleVersion##OTHER## | _Author##OTHER## | WidthWaterHeater##LENGTH##MILLIMETERS | Water_Treatment_Required##OTHER## | Water_Content##OTHER## | Water Regulations Compliant##OTHER## | WarrantyStartDate##OTHER## | WarrantyGuarantorParts##OTHER## | WarrantyDurationUnit##OTHER## | WarrantyDurationParts##OTHER## | WarrantyDescription##OTHER## | Voltage##ELECTRICAL_POTENTIAL##VOLTS | URL##OTHER## | Type##OTHER## | TotalTopToBottomClearance##LENGTH##MILLIMETERS | TotalLeftToRightClearance##LENGTH##MILLIMETERS | TotalFronttoBackClerance##LENGTH##MILLIMETERS | TPValve/SiphonVertical##LENGTH##MILLIMETERS | TPValveHorizontal##LENGTH##MILLIMETERS | Supply_Phase##OTHER## | Starting_Current##OTHER## | Standing Loss##OTHER## | Sound_Pressure_Level##OTHER## | SiphonHorizontal##LENGTH##MILLIMETERS | SiphonDiameter##LENGTH##MILLIMETERS | Shipping_Weight##OTHER## | Shape##OTHER## | SerialNumber##OTHER## | Secondary Return Connection Type##OTHER## | Secondary Return Connection Size##OTHER## | Safety_Valve_Connection_Type##OTHER## | Safety_Valve_Connection_Size##OTHER## | Referenced_Standard##OTHER## | Recovery Rate##OTHER## | Recirculation/DrainVertical##LENGTH##MILLIMETERS | RecirculationHorizontal##LENGTH##MILLIMETERS | RecirculationDiameter##LENGTH##MILLIMETERS | Product_Range##OTHER## | Product_Model_Number##OTHER## | Product_Literature##OTHER## | Primary_Fuel##OTHER## | Overall_Width##LENGTH##MILLIMETERS | Overall_Length##LENGTH##MILLIMETERS | Overall_Height##LENGTH##MILLIMETERS | Optional_Fuel##OTHER## | Oil_Consumption_rate##OTHER## | Nominal_Oil_Inlet_Pressure##OTHER## | Nominal_Gas_Inlet_Pressure##OTHER## | NominalLength##OTHER## | NominalHeight##OTHER## | NominalDepth##OTHER## | NOx_Emissions##OTHER## | NBSReference##OTHER## | NBSOfficeMasterTag##OTHER## | NBSObjectName##OTHER## | NBSNote##OTHER## | NBSDescription##OTHER## | Mounting##OTHER## | ModelReference##OTHER## | ModelNumber##OTHER## | Model##OTHER## | Minimum_Power_Consumption##OTHER## | Minimum_Operating_Pressure##OTHER## | Minimum_Oil_Inlet_Pressure##OTHER## | Minimum_Gas_Inlet_Pressure##OTHER## | Maximum_Power_Consumption##OTHER## | Maximum_Operating_Pressure##OTHER## | Maximum_Oil_Inlet_Pressure##OTHER## | Maximum_Gas_Inlet_Pressure##OTHER## | Maximum Water Temperature##OTHER## | Material##OTHER## | Manufacturer_Website##OTHER## | Manufacturer##OTHER## | ManufactureName##OTHER## | Interlocks##OTHER## | Insulation Type##OTHER## | Insulation Thickness##OTHER## | InstallationDate##OTHER## | IfcExportType##OTHER## | IfcExportAs##OTHER## | IP_Rating##OTHER## | IK_Rating##OTHER## | HotWaterHorizontal##LENGTH##MILLIMETERS | DrainHorizontal##LENGTH##MILLIMETERS | DrainDiameter##LENGTH##MILLIMETERS | ColdWaterHorizontal##LENGTH##MILLIMETERS | Hot/ColdWaterDiameter##LENGTH##MILLIMETERS | HightWaterHeater##LENGTH##MILLIMETERS | HeaterOperation##OTHER## | Heat_Exchanger_Material##OTHER## | Heat up time##OTHER## | Heat Generator Thermal Efficiency##OTHER## | Heat Generator Load Profile##OTHER## | Heat Generator Efficiency##OTHER## | Gross_Weight##OTHER## | Gross Input##OTHER## | Gas_Consumption_rate##OTHER## | GasVertical##LENGTH##MILLIMETERS | GasHorizontal##LENGTH##MILLIMETERS | GasDiameter##LENGTH##MILLIMETERS | Fuse_Rating##OTHER## | Full_Load_Current##OTHER## | Fuel_Connection_Type##OTHER## | Fuel_Connection_Size##OTHER## | Frequency##OTHER## | Flue_or_Air_Intake_Classification##OTHER## | Flue_Connection_Size##OTHER## | FlueGasDiameter##LENGTH##MILLIMETERS | Flow_and_Return_Connection_Type##OTHER## | Flow_and_Return_Connection_Size##OTHER## | Finish##OTHER## | Features##OTHER## | External_Material##OTHER## | ExpectedLife##OTHER## | ErP_Energy_Label##OTHER## | DurationUnit##OTHER## | Drain_Connection_Type##OTHER## | Drain_Connection_Size##OTHER## | Description##OTHER## | DepthCover##LENGTH##MILLIMETERS | DepthWaterHeater##LENGTH##MILLIMETERS | CreatedOn##OTHER## | CreatedBy##OTHER## | Control_Type##OTHER## | Control_Options##OTHER## | Control thermostat range##OTHER## | Continuous output at 50 degree differential##OTHER## | Continuous output at 44 degree differential##OTHER## | Condensate_Drain_Type##OTHER## | Condensate_Drain_Size##OTHER## | Colour##OTHER## | Hot/ColdWater/AirInletVertical##LENGTH##MILLIMETERS | Clerance zone visibility##OTHER## | ClearanceTop##LENGTH##MILLIMETERS | ClearanceLeft##LENGTH##MILLIMETERS | ClearanceFront##LENGTH##MILLIMETERS | ClearanceBottom##LENGTH##MILLIMETERS | ClearanceBack##LENGTH##MILLIMETERS | Clearance Right##LENGTH##MILLIMETERS | Clean Out Cover and Inspection Opening Type##OTHER## | Clean Out Cover and Inspection Opening Size##OTHER## | ClassifcationValue##OTHER## | ClassifcationName##OTHER## | CE_Approval##OTHER## | BarCode##OTHER## | BMS_Links##OTHER## | BIMObjectName##OTHER## | AssetType##OTHER## | AssetIdentifier##OTHER## | Air_Inlet_Connection_Size##OTHER## | AirInletHorizontal##LENGTH##MILLIMETERS | AirInletConnectionDiameter##LENGTH##MILLIMETERS
Tx 99 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 880.000000000000 | No | 500 litres | yes, PZH |  | info@myaic.eu | years | 0 |  | 230.000000000000 | www.myaic.eu | Direct fired hot water generation | 1780.000000000000 | 630.000000000000 | 1213.999999999979 | 184.000000000000 | 1497.000000000000 | 1 | n/a |  | 84 dB | 100.000000000000 | 26.700000000000 | kg | Rectangular (Vertical) | 0 | Threaded | G 1"" | n/a | n/a | EN 89 2-1 |  | 439.000000000000 | 995.000000000000 | 33.400000000000 | Texas | TX 99 FS | https://myaic.eu/downloads | Gas - NG | 880.000000000000 | 1233.000000000000 | 2174.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 880 | 2174 | 1233 | 37.6 mg/kWh | 90-15-35/450 | n/a | AIC_GasFiredCondensingWaterHeaters |  | n/a | Floor standing | Texas | TX 99 FS | TX 99 FS | 4 W | 0.8 bar | 0 | 17 bar | 169 W | 10 bar | 0 | 25 bar | 80 ºC | Steel | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes | PET fiber | 90 mm |  | Pset_BoilerTypeCommon | IfcBoilerType | IPX4D | n/a | 1935.000000000000 | 175.000000000000 | 33.400000000000 | 410.000000000000 | 60.300000000000 | 2174.000000000000 | Condensing | Stainless Steel | 16 mins | 96 | 3XL | 93.8 | 0 | 99 kW | 10 m3/h | 100.000000000000 | 613.000000000000 | 24.200000000000 | 6.3 A | n/a | Threaded | G 3/4"" | 50 Hz | B23; B23P; CB23; B23P; C43; C53; C63; C83 | 150 mm | 150.000000000000 | Threaded | G 2"" | Painted |  | Steel |  | 0 | years | Threaded | G 1"" | Floor-standing storage water heater, is a compact, low-emission condensing appliance, a high modulation ratio, very low NOx emissions. Stainless steel tank can store and deliver large volumes of hot water. This appliance produces DHW through a unique and proven helical “fire-tube” heat exchanger, that offers a large heat exchange surface to optimise energy and heating efficiency. | 10.000000000000 | 1022.000000000000 |  | DaPr | Internal | Modulating | 40-80 ºC |  |  | Plain | 26.7 mm | Telegrey | 160.000000000000 | 0 | 400.000000000000 | 100.000000000000 | 740.000000000000 | 0.000000000000 | 500.000000000000 | 500.000000000000 | Threaded | G 2"" | Pr_60_60_96_34 | Uniclass2015 | Yes |  | Yes | AIC_WaterHeater_Texas_99-230 | Fixed | n/a | 100 mm | 2068.000000000000 | 100.000000000000
Tx 230 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 880.000000000000 | No | 500 litres | yes, PZH |  | info@myaic.eu | years | 0 |  | 230.000000000000 | www.myaic.eu | Direct fired hot water generation | 1780.000000000000 | 630.000000000000 | 1213.999999999979 | 184.000000000000 | 1497.000000000000 | 1 | n/a |  | 84 dB | 100.000000000000 | 26.700000000000 | 486 kg | Rectangular (Vertical) | 0 | Threaded | G 1"" | n/a | n/a | EN 89 2-1 |  | 439.000000000000 | 995.000000000000 | 33.400000000000 | Texas | TX 230 FS | https://myaic.eu/downloads | Gas - NG | 880.000000000000 | 1233.000000000000 | 2174.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 880 | 2174 | 1233 | 37.5 mg/kWh | 90-15-35/450 | n/a | AIC_GasFiredCondensingWaterHeaters |  | n/a | Floor standing | Texas | TX 230 FS TX 230 FS | TX 230 FS | 4 W | 0.8 bar | 0 | 17 bar | 290 W | 10 bar | 0 | 25 bar | 80 ºC | Steel | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes | PET fiber | 90 mm |  | Pset_BoilerTypeCommon | IfcBoilerType | IPX4D | n/a | 1935.000000000000 | 175.000000000000 | 33.400000000000 | 410.000000000000 | 60.300000000000 | 2174.000000000000 | Condensing | Stainless Steel | 15 mins | 97 | 4XL | 92.6 | 0 | 230 kW | 22.8 m3/h | 100.000000000000 | 613.000000000000 | 38.000000000000 | 6.3 A | n/a | Threaded | G 1 1/4"" | 50 Hz | B23; B23P; CB23; B23P; C43; C53; C63; C83 | 150 mm | 150.000000000000 | Threaded | G 2"" | Painted |  | Steel |  | 0 | years | Threaded | G 1"" | Floor-standing storage water heater, is a compact, low-emission condensing appliance, a high modulation ratio, very low NOx emissions. Stainless steel tank can store and deliver large volumes of hot water. This appliance produces DHW through a unique and proven helical “fire-tube” heat exchanger, that offers a large heat exchange surface to optimise energy and heating efficiency. | 10.000000000000 | 1022.000000000000 |  | DaPr | Internal | Modulating | 40-80 ºC |  |  | Plain | 26.7 mm | Telegrey | 160.000000000000 | 0 | 400.000000000000 | 100.000000000000 | 740.000000000000 | 0.000000000000 | 500.000000000000 | 500.000000000000 | Threaded | G 2"" | Pr_60_60_96_34 | Uniclass2015 | Yes |  | Yes | AIC_WaterHeater_Texas_99-230 | Fixed | n/a | 100 mm | 2068.000000000000 | 100.000000000000

## Arkusz1
| _DistributedBy##OTHER## | _CurrentRevision##OTHER## | _CreatedBy##OTHER## | _BimSpecGuid##OTHER## | _BSBibleVersion##OTHER## | _Author##OTHER## | WidthWaterHeater##LENGTH##MILLIMETERS | Water_Treatment_Required##OTHER## | Water_Content##OTHER## | Water Regulations Compliant##OTHER## | WarrantyStartDate##OTHER## | WarrantyGuarantorParts##OTHER## | WarrantyDurationUnit##OTHER## | WarrantyDurationParts##OTHER## | WarrantyDescription##OTHER## | Voltage##ELECTRICAL_POTENTIAL##VOLTS | URL##OTHER## | Type##OTHER## | TotalTopToBottomClearance##LENGTH##MILLIMETERS | TotalLeftToRightClearance##LENGTH##MILLIMETERS | TotalFronttoBackClerance##LENGTH##MILLIMETERS | TPValve/SiphonVertical##LENGTH##MILLIMETERS | TPValveHorizontal##LENGTH##MILLIMETERS | Supply_Phase##OTHER## | Starting_Current##OTHER## | Standing Loss##OTHER## | Sound_Pressure_Level##OTHER## | SiphonHorizontal##LENGTH##MILLIMETERS | SiphonDiameter##LENGTH##MILLIMETERS | Shipping_Weight##OTHER## | Shape##OTHER## | SerialNumber##OTHER## | Secondary Return Connection Type##OTHER## | Secondary Return Connection Size##OTHER## | Safety_Valve_Connection_Type##OTHER## | Safety_Valve_Connection_Size##OTHER## | Referenced_Standard##OTHER## | Recovery Rate##OTHER## | Recirculation/DrainVertical##LENGTH##MILLIMETERS | RecirculationHorizontal##LENGTH##MILLIMETERS | RecirculationDiameter##LENGTH##MILLIMETERS | Product_Range##OTHER## | Product_Model_Number##OTHER## | Product_Literature##OTHER## | Primary_Fuel##OTHER## | Overall_Width##LENGTH##MILLIMETERS | Overall_Length##LENGTH##MILLIMETERS | Overall_Height##LENGTH##MILLIMETERS | Optional_Fuel##OTHER## | Oil_Consumption_rate##OTHER## | Nominal_Oil_Inlet_Pressure##OTHER## | Nominal_Gas_Inlet_Pressure##OTHER## | NominalLength##OTHER## | NominalHeight##OTHER## | NominalDepth##OTHER## | NOx_Emissions##OTHER## | NBSReference##OTHER## | NBSOfficeMasterTag##OTHER## | NBSObjectName##OTHER## | NBSNote##OTHER## | NBSDescription##OTHER## | Mounting##OTHER## | ModelReference##OTHER## | ModelNumber##OTHER## | Model##OTHER## | Minimum_Power_Consumption##OTHER## | Minimum_Operating_Pressure##OTHER## | Minimum_Oil_Inlet_Pressure##OTHER## | Minimum_Gas_Inlet_Pressure##OTHER## | Maximum_Power_Consumption##OTHER## | Maximum_Operating_Pressure##OTHER## | Maximum_Oil_Inlet_Pressure##OTHER## | Maximum_Gas_Inlet_Pressure##OTHER## | Maximum Water Temperature##OTHER## | Material##OTHER## | Manufacturer_Website##OTHER## | Manufacturer##OTHER## | ManufactureName##OTHER## | Interlocks##OTHER## | Insulation Type##OTHER## | Insulation Thickness##OTHER## | InstallationDate##OTHER## | IfcExportType##OTHER## | IfcExportAs##OTHER## | IP_Rating##OTHER## | IK_Rating##OTHER## | HotWaterHorizontal##LENGTH##MILLIMETERS | DrainHorizontal##LENGTH##MILLIMETERS | DrainDiameter##LENGTH##MILLIMETERS | ColdWaterHorizontal##LENGTH##MILLIMETERS | Hot/ColdWaterDiameter##LENGTH##MILLIMETERS | HightWaterHeater##LENGTH##MILLIMETERS | HeaterOperation##OTHER## | Heat_Exchanger_Material##OTHER## | Heat up time##OTHER## | Heat Generator Thermal Efficiency##OTHER## | Heat Generator Load Profile##OTHER## | Heat Generator Efficiency##OTHER## | Gross_Weight##OTHER## | Gross Input##OTHER## | Gas_Consumption_rate##OTHER## | GasVertical##LENGTH##MILLIMETERS | GasHorizontal##LENGTH##MILLIMETERS | GasDiameter##LENGTH##MILLIMETERS | Fuse_Rating##OTHER## | Full_Load_Current##OTHER## | Fuel_Connection_Type##OTHER## | Fuel_Connection_Size##OTHER## | Frequency##OTHER## | Flue_or_Air_Intake_Classification##OTHER## | Flue_Connection_Size##OTHER## | FlueGasDiameter##LENGTH##MILLIMETERS | Flow_and_Return_Connection_Type##OTHER## | Flow_and_Return_Connection_Size##OTHER## | Finish##OTHER## | Features##OTHER## | External_Material##OTHER## | ExpectedLife##OTHER## | ErP_Energy_Label##OTHER## | DurationUnit##OTHER## | Drain_Connection_Type##OTHER## | Drain_Connection_Size##OTHER## | Description##OTHER## | DepthCover##LENGTH##MILLIMETERS | DepthWaterHeater##LENGTH##MILLIMETERS | CreatedOn##OTHER## | CreatedBy##OTHER## | Control_Type##OTHER## | Control_Options##OTHER## | Control thermostat range##OTHER## | Continuous output at 50 degree differential##OTHER## | Continuous output at 44 degree differential##OTHER## | Condensate_Drain_Type##OTHER## | Condensate_Drain_Size##OTHER## | Colour##OTHER## | Hot/ColdWater/AirInletVertical##LENGTH##MILLIMETERS | Clerance zone visibility##OTHER## | ClearanceTop##LENGTH##MILLIMETERS | ClearanceLeft##LENGTH##MILLIMETERS | ClearanceFront##LENGTH##MILLIMETERS | ClearanceBottom##LENGTH##MILLIMETERS | ClearanceBack##LENGTH##MILLIMETERS | Clearance Right##LENGTH##MILLIMETERS | Clean Out Cover and Inspection Opening Type##OTHER## | Clean Out Cover and Inspection Opening Size##OTHER## | ClassifcationValue##OTHER## | ClassifcationName##OTHER## | CE_Approval##OTHER## | BarCode##OTHER## | BMS_Links##OTHER## | BIMObjectName##OTHER## | AssetType##OTHER## | AssetIdentifier##OTHER## | Air_Inlet_Connection_Size##OTHER## | AirInletHorizontal##LENGTH##MILLIMETERS | AirInletConnectionDiameter##LENGTH##MILLIMETERS
Tx 99 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 880.000000000000 | No | 500 litres | yes, PZH |  | info@myaic.eu | years | 0 |  | 230.000000000000 | www.myaic.eu | Direct fired hot water generation | 1780.000000000000 | 630.000000000000 | 1213.999999999979 | 184.000000000000 | 1497.000000000000 | 1 | n/a |  | 84 dB | 100.000000000000 | 26.700000000000 | kg | Rectangular (Vertical) | 0 | Threaded | G 1"" | n/a | n/a | EN 89 2-1 |  | 439.000000000000 | 995.000000000000 | 33.400000000000 | Texas | TX 99 FS | https://myaic.eu/downloads | Gas - NG | 880.000000000000 | 1233.000000000000 | 2174.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 880 | 2174 | 1233 | 37.6 mg/kWh | 90-15-35/450 | n/a | AIC_GasFiredCondensingWaterHeaters |  | n/a | Floor standing | Texas | TX 99 FS | TX 99 FS | 4 W | 0.8 bar | 0 | 17 bar | 169 W | 10 bar | 0 | 25 bar | 80 ºC | Steel | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes | PET fiber | 90 mm |  | Pset_BoilerTypeCommon | IfcBoilerType | IPX4D | n/a | 1935.000000000000 | 175.000000000000 | 33.400000000000 | 410.000000000000 | 60.300000000000 | 2174.000000000000 | Condensing | Stainless Steel | 16 mins | 96 | 3XL | 93.8 | 0 | 99 kW | 10 m3/h | 100.000000000000 | 613.000000000000 | 24.200000000000 | 6.3 A | n/a | Threaded | G 3/4"" | 50 Hz | B23; B23P; CB23; B23P; C43; C53; C63; C83 | 150 mm | 150.000000000000 | Threaded | G 2"" | Painted |  | Steel |  | 0 | years | Threaded | G 1"" | Floor-standing storage water heater, is a compact, low-emission condensing appliance, a high modulation ratio, very low NOx emissions. Stainless steel tank can store and deliver large volumes of hot water. This appliance produces DHW through a unique and proven helical “fire-tube” heat exchanger, that offers a large heat exchange surface to optimise energy and heating efficiency. | 10.000000000000 | 1022.000000000000 |  | DaPr | Internal | Modulating | 40-80 ºC |  |  | Plain | 26.7 mm | Telegrey | 160.000000000000 | 0 | 400.000000000000 | 100.000000000000 | 740.000000000000 | 0.000000000000 | 500.000000000000 | 500.000000000000 | Threaded | G 2"" | Pr_60_60_96_34 | Uniclass2015 | Yes |  | Yes | AIC_WaterHeater_Texas_99-230 | Fixed | n/a | 100 mm | 2068.000000000000 | 100.000000000000
Tx 230 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 880.000000000000 | No | 500 litres | yes, PZH |  | info@myaic.eu | years | 0 |  | 230.000000000000 | www.myaic.eu | Direct fired hot water generation | 1780.000000000000 | 630.000000000000 | 1213.999999999979 | 184.000000000000 | 1497.000000000000 | 1 | n/a |  | 84 dB | 100.000000000000 | 26.700000000000 | 486 kg | Rectangular (Vertical) | 0 | Threaded | G 1"" | n/a | n/a | EN 89 2-1 |  | 439.000000000000 | 995.000000000000 | 33.400000000000 | Texas | TX 230 FS | https://myaic.eu/downloads | Gas - NG | 880.000000000000 | 1233.000000000000 | 2174.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 880 | 2174 | 1233 | 37.5 mg/kWh | 90-15-35/450 | n/a | AIC_GasFiredCondensingWaterHeaters |  | n/a | Floor standing | Texas | TX 230 FS TX 230 FS | TX 230 FS | 4 W | 0.8 bar | 0 | 17 bar | 290 W | 10 bar | 0 | 25 bar | 80 ºC | Steel | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes | PET fiber | 90 mm |  | Pset_BoilerTypeCommon | IfcBoilerType | IPX4D | n/a | 1935.000000000000 | 175.000000000000 | 33.400000000000 | 410.000000000000 | 60.300000000000 | 2174.000000000000 | Condensing | Stainless Steel | 15 mins | 97 | 4XL | 92.6 | 0 | 230 kW | 22.8 m3/h | 100.000000000000 | 613.000000000000 | 38.000000000000 | 6.3 A | n/a | Threaded | G 1 1/4"" | 50 Hz | B23; B23P; CB23; B23P; C43; C53; C63; C83 | 150 mm | 150.000000000000 | Threaded | G 2"" | Painted |  | Steel |  | 0 | years | Threaded | G 1"" | Floor-standing storage water heater, is a compact, low-emission condensing appliance, a high modulation ratio, very low NOx emissions. Stainless steel tank can store and deliver large volumes of hot water. This appliance produces DHW through a unique and proven helical “fire-tube” heat exchanger, that offers a large heat exchange surface to optimise energy and heating efficiency. | 10.000000000000 | 1022.000000000000 |  | DaPr | Internal | Modulating | 40-80 ºC |  |  | Plain | 26.7 mm | Telegrey | 160.000000000000 | 0 | 400.000000000000 | 100.000000000000 | 740.000000000000 | 0.000000000000 | 500.000000000000 | 500.000000000000 | Threaded | G 2"" | Pr_60_60_96_34 | Uniclass2015 | Yes |  | Yes | AIC_WaterHeater_Texas_99-230 | Fixed | n/a | 100 mm | 2068.000000000000 | 100.000000000000